Made in Türkiye

Terracotta clay panel mechanical-installation specification

18 mm double-skin specification

Verified values transcribed from the supplied 2023 laboratory report, 2026 product catalogue and Turkish mechanical-installation specification. Every value below is shown with its applicable sample or document scope.

Important: laboratory values are sample-specific. They are not a declaration of performance for every panel family, dimension, colour or project.

Documented technical evidence

18 mm double-skin specification

The supplied Turkish specification covers an unglazed, extruded double-skin clay façade panel fired at 1,180°C.

| Nominal format | 300 × 600 × 18 mm |
| --- | --- |
| Documented working dimensions | 599 × 306 × 18 mm |
| Raw-material description | Clay, chamotte, fluxes, colourants and other inorganic raw materials |
| Documented support concept | Aluminium vertical T-profiles, L-brackets, clips and substrate-specific anchors |
| Movement provision | Fixed and sliding connection points are described for thermal movement |

Verified mounting-component requirements

The following component requirements were supplied for the Terracotta panel mounting system. Final dimensions, spacing, anchors and calculations still require project-specific approved drawings.

L-bracket thickness: 3.2 mm

Special T-profile for self-jointed Terracotta panels: 1.8 mm thick

Hanger brackets designed specifically for Terracotta panels must be used

Documented application guidance

The supplied 2026 catalogue documents the following system principles. They are design guidance, not a substitute for project-specific structural calculations and approved installation drawings.

Documented raw-material mixture: clay, chamotte, kaolin, fluxes and other natural inorganic ceramic raw materials.

The carrier system and structural calculations must be completed before installation. Carrier profiles must be aluminium; profile thicknesses must be specified in advance and anchors selected for the substrate.

The documented maximum vertical spacing between L-brackets is 150 cm. Closer spacing may be required depending on building height and external actions.

Insulation and the moisture barrier are installed before the applicable self-jointed T-profiles, T-profiles or horizontal hanger rails. Door, window, roof, corner and sill details must be resolved for the project.

Single-skin panels use their rear channels with pin, clip or hook systems. Thin double-skin panels are hung at two points on vertical aluminium members. Thick double-skin panels use horizontal and vertical aluminium hanger systems.

TSE sample test summary

Report 110755 / 04-23 · tests completed 13 February–6 April 2023 · 20-piece clay vertical wall-cladding sample · declared sample size 399 × 206 mm.

| Measured dimensions (average) | 399 × 205 mm |
| --- | --- |
| Bending breaking load (average) | 3,790 N |
| Individual breaking-load range | 3,240–4,190 N |
| Water absorption (average) | 3.9% |
| Freeze-thaw exposure | Level 2 · 90 cycles · no damage observed |
| Impermeability coefficient | Category 1, Method 1 · 0 |

Final anchor type, bracket spacing, rail geometry, cavity, insulation and movement design must be calculated and approved for the project substrate, loads and local regulations.

Source and publication status

The original branded catalogue and laboratory report are retained as internal source documents and are not published on this website. Only the transcribed, scope-limited technical values shown here are public.

Still required before broader technical publication

Current product-family data sheets

Current declarations of performance

Current product certificates

Approved installation drawings and calculation criteria